FREQUENTLY ASKED QUESTIONS

(ENVIRONMENTAL ENGINEERING)

DEPARTMENT OF CIVIL ENGINEEIRNG

GIET UNIVERSITY, GUNUPUR

Environmental Engineering

Frequently Asked Questions

- What is water supply system?
Ans: System to supply potable water to community.

- What is per capita demand?
Ans: Average daily water demand per person.

- What is LPCD?
Ans: Liters per capita per day.

- What are sources of water?
Ans: Surface water and groundwater.

- What is raw water?
Ans: Untreated water from source.

- What is potable water?
Ans: Water safe for drinking.

- What is water quality?
Ans: Physical, chemical and biological characteristics of water.

- What is turbidity?
Ans: Cloudiness caused by suspended particles.

- What is colour in water?
Ans: Visual appearance due to dissolved substances.

- What is taste and odour?
Ans: Sensory properties of water.

- What is pH?
Ans: Measure of acidity or alkalinity.

- What is alkalinity?
Ans: Water’s capacity to neutralize acids.

- What is hardness?
Ans: Presence of calcium and magnesium salts.

- What is temporary hardness?
Ans: Hardness removed by boiling.

- What is permanent hardness?
Ans: Hardness not removed by boiling.

- What is TDS?
Ans: Total Dissolved Solids.

- What is TSS?
Ans: Total Suspended Solids.

- What is DO?
Ans: Dissolved Oxygen in water.

- What is BOD?
Ans: Biochemical Oxygen Demand.

- What is COD?
Ans: Chemical Oxygen Demand.

- What is coliform bacteria?
Ans: Indicator of fecal contamination.

- What is E. coli?
Ans: Indicator organism of pollution.

- What is water pollution?
Ans: Degradation of water quality.

- What is contamination?
Ans: Presence of harmful substances.

- What is waterborne disease?
Ans: Disease spread through water.

- What is fluorosis?
Ans: Disease due to excess fluoride.

- What is nitrate pollution?
Ans: Excess nitrate in water.

- What is permissible limit?
Ans: Maximum safe concentration.

- What is WHO standard?
Ans: Drinking water guideline by WHO.

- What is BIS standard?
Ans: Indian drinking water standard.

- What is water demand?
Ans: Quantity of water required.

- What is fire demand?
Ans: Water required for firefighting.

- What is peak demand?
Ans: Maximum water requirement.

- What is average demand?
Ans: Mean daily water requirement.

- What is water loss?
Ans: Loss due to leakage and wastage.

- What is NRW?
Ans: Non-revenue water.

- What is storage reservoir?
Ans: Storage for treated water.

- What is intake structure?
Ans: Structure to collect raw water.

- What is water conservation?
Ans: Efficient use of water.

- What is rainwater harvesting?
Ans: Collection and storage of rainwater.

- What is surface water?
Ans: Water from rivers, lakes and reservoirs.

- What is water treatment?
Ans: Removal of impurities from water.

- What is screening?
Ans: Removal of large floating objects.

- What is sedimentation?
Ans: Settling of suspended particles.

- What is coagulation?
Ans: Destabilization of colloids.

- What is flocculation?
Ans: Formation of larger flocs.

- What is alum?
Ans: Common coagulant.

- What is jar test?
Ans: Lab test to find coagulant dose.

- What is filtration?
Ans: Removal of fine particles.

- What is slow sand filter?
Ans: Low rate biological filter.

- What is rapid sand filter?
Ans: High rate gravity filter.

- What is pressure filter?
Ans: Filter under pressure.

- What is backwashing?
Ans: Cleaning of filter bed.

- What is disinfection?
Ans: Killing harmful microorganisms.

- What is chlorination?
Ans: Disinfection using chlorine.

- What is breakpoint chlorination?
Ans: Point where chlorine demand is satisfied.

- What is residual chlorine?
Ans: Remaining chlorine after treatment.

- What is pre-chlorination?
Ans: Chlorination before treatment.

- What is post-chlorination?
Ans: Chlorination after treatment.

- What is aeration?
Ans: Removal of dissolved gases.

- What is taste and odour removal?
Ans: Treatment to improve acceptability.

- What is activated carbon?
Ans: Adsorbent for organic matter.

- What is softening?
Ans: Removal of hardness.

- What is lime-soda process?
Ans: Chemical softening method.

- What is zeolite process?
Ans: Ion exchange softening.

- What is sludge?
Ans: Settled solids from treatment.

- What is sludge disposal?
Ans: Safe removal of sludge.

- What is clear water tank?
Ans: Storage of treated water.

- What is disinfection efficiency?
Ans: Effectiveness of killing microbes.

- What is turbidity removal?
Ans: Removal of suspended solids.

- What is pre-treatment?
Ans: Initial treatment before main process.

- What is post-treatment?
Ans: Final treatment stage.

- What is ozonation?
Ans: Disinfection using ozone.

- What is UV disinfection?
Ans: Disinfection using UV light.

- What is taste threshold?
Ans: Minimum noticeable taste level.

- What is colour removal?
Ans: Removal of coloured impurities.

- What is filtration rate?
Ans: Flow rate through filter.

- What is head loss?
Ans: Energy loss through filter.

- What is water treatment plant (WTP)?
Ans: Facility for treating water.

- What is treated water quality?
Ans: Quality after treatment.

- What is wastewater?
Ans: Used water from domestic/industrial use.

- What is sewage?
Ans: Domestic wastewater.

- What is industrial effluent?
Ans: Wastewater from industries.

- What is sewerage system?
Ans: Network of sewers.

- What is combined sewer?
Ans: Sewage + stormwater together.

- What is separate sewer?
Ans: Separate pipes for sewage and stormwater.

- What is STP?
Ans: Sewage Treatment Plant.

- What is ETP?
Ans: Effluent Treatment Plant.

- What is primary treatment?
Ans: Physical removal of solids.

- What is secondary treatment?
Ans: Biological treatment.

- What is tertiary treatment?
Ans: Advanced purification.

- What is screening in STP?
Ans: Removal of large solids.

- What is grit chamber?
Ans: Removal of sand and grit.

- What is primary sedimentation tank?
Ans: Settling tank for solids.

- What is activated sludge process?
Ans: Aerobic biological treatment.

- What is trickling filter?
Ans: Biological filter using media.

- What is oxidation pond?
Ans: Natural treatment pond.

- What is aeration tank?
Ans: Tank supplying oxygen.

- What is secondary clarifier?
Ans: Settling of biomass.

- What is sludge?
Ans: Settled solids.

- What is sludge digestion?
Ans: Stabilization of sludge.

- What is anaerobic digestion?
Ans: Sludge digestion without oxygen.

- What is aerobic digestion?
Ans: Sludge digestion with oxygen.

- What is BOD removal?
Ans: Reduction of organic load.

- What is COD removal?
Ans: Reduction of chemical oxygen demand.

- What is effluent standard?
Ans: Permissible discharge limits.

- What is industrial pretreatment?
Ans: Treatment before discharge.

- What is equalization tank?
Ans: Flow and load balancing tank.

- What is neutralization?
Ans: pH correction.

- What is oil & grease trap?
Ans: Removal of oil.

- What is reuse of wastewater?
Ans: Treated water reused.

- What is water recycling?
Ans: Reuse within industry.

- What is zero liquid discharge (ZLD)?
Ans: No wastewater discharge.

- What is septage?
Ans: Waste from septic tanks.

- What is septic tank?
Ans: On-site wastewater treatment.

- What is soak pit?
Ans: Infiltration pit.

- What is industrial pollution?
Ans: Pollution due to industries.

- What is sludge dewatering?
Ans: Removal of water from sludge.

- What is effluent disposal?
Ans: Final discharge of treated effluent.

- What is effluent monitoring?
Ans: Checking discharge quality.

- What is air pollution?
Ans: Presence of harmful substances in air.

- What is air pollutant?
Ans: Harmful substance in air.

- What is primary pollutant?
Ans: Emitted directly from source.

- What is secondary pollutant?
Ans: Formed by chemical reactions.

- What is PM2.5?
Ans: Fine particulate matter <2.5 µm.

- What is PM10?
Ans: Particles <10 µm.

- What is SO₂?
Ans: Sulphur dioxide gas.

- What is NOx?
Ans: Nitrogen oxides.

- What is CO?
Ans: Carbon monoxide.

- What is CO₂?
Ans: Carbon dioxide.

- What is smog?
Ans: Smoke + fog.

- What is photochemical smog?
Ans: Smog formed by sunlight reactions.

- What is ozone?
Ans: Triatomic oxygen gas.

- What is greenhouse effect?
Ans: Trapping of heat by gases.

- What is global warming?
Ans: Increase in Earth’s temperature.

- What is climate change?
Ans: Long-term climate variation.

- What is AQI?
Ans: Air Quality Index.

- What is emission?
Ans: Release of pollutants.

- What is ambient air?
Ans: Surrounding air.

- What is stack?
Ans: Chimney for gas discharge.

- What is scrubber?
Ans: Device to remove gases.

- What is cyclone separator?
Ans: Removes coarse particles.

- What is bag filter?
Ans: Fabric filter for dust.

- What is electrostatic precipitator?
Ans: Removes fine particles using charge.

- What is source control?
Ans: Control at origin.

- What is dispersion?
Ans: Spread of pollutants.

- What is inversion?
Ans: Trapping of pollutants due to temperature layer.

- What is vehicular pollution?
Ans: Pollution from vehicles.

- What is emission standard?
Ans: Permissible emission limit.

- What is air pollution control?
Ans: Measures to reduce air pollution.

- What is indoor air pollution?
Ans: Pollution inside buildings.

- What is occupational exposure?
Ans: Workplace pollutant exposure.

- What is acid rain?
Ans: Acidic precipitation.

- What is visibility reduction?
Ans: Reduced clarity due to pollutants.

- What is respiratory disease?
Ans: Lung-related illness.

- What is stack height?
Ans: Height of chimney.

- What is air quality standard?
Ans: Permissible pollutant level.

- What is emission inventory?
Ans: List of emission sources.

- What is green belt?
Ans: Vegetation barrier for pollution control.

- What is air monitoring station?
Ans: Station measuring air quality.

- What is noise?
Ans: Unwanted sound.

- What is noise pollution?
Ans: Excessive harmful noise.

- What is sound level?
Ans: Intensity of sound.

- What is decibel (dB)?
Ans: Unit of sound intensity.

- What is frequency?
Ans: Number of sound waves per second.

- What is audible range?
Ans: 20 Hz to 20,000 Hz.

- What is ultrasonic sound?
Ans: Frequency >20 kHz.

- What is infrasonic sound?
Ans: Frequency <20 Hz.

- What is Leq?
Ans: Equivalent continuous noise level.

- What is L10?
Ans: Noise level exceeded 10% of time.

- What is noise source?
Ans: Origin of noise.

- What is industrial noise?
Ans: Noise from machines.

- What is traffic noise?
Ans: Noise from vehicles.

- What is aircraft noise?
Ans: Noise from airplanes.

- What is construction noise?
Ans: Noise from construction activity.

- What is noise mapping?
Ans: Spatial noise level representation.

- What is noise barrier?
Ans: Structure blocking sound.

- What is sound insulation?
Ans: Reduction of sound transmission.

- What is acoustic material?
Ans: Material absorbing sound.

- What is hearing loss?
Ans: Reduction in hearing ability.

- What is temporary threshold shift?
Ans: Short-term hearing loss.

- What is permanent threshold shift?
Ans: Permanent hearing loss.

- What is annoyance?
Ans: Psychological effect of noise.

- What is sleep disturbance?
Ans: Sleep disruption by noise.

- What is noise zoning?
Ans: Area classification by noise level.

- What is silence zone?
Ans: Area with strict noise limits.

- What is ambient noise?
Ans: Background noise.

- What is noise standard?
Ans: Permissible noise limit.

- What is noise monitoring?
Ans: Measurement of noise levels.

- What is sound level meter?
Ans: Instrument to measure noise.

- What is octave band?
Ans: Frequency band division.

- What is noise exposure?
Ans: Duration of noise impact.

- What is occupational noise limit?
Ans: Permissible workplace noise.

- What is noise control at source?
Ans: Reduce noise generation.

- What is noise control in path?
Ans: Barriers and insulation.

- What is noise control at receiver?
Ans: Ear protection.

- What is ear plug?
Ans: Hearing protection device.

- What is ear muff?
Ans: Hearing protection gear.

- What is green belt for noise?
Ans: Trees to reduce noise.

- What is community noise?
Ans: Noise affecting public areas.